## Currently Certified Projects
ISO-NE PUBLIC
2025 List of FCM Certified Transmission Projects
(intended for all network model builds in year 2025)
State | Projected In Service Date | Major Project | Project Component | RSP Project ID / AC Project ID / LSP | PPA (I.3.9) Approval | TCA Approval | Responsible TO | FCM Certified In-Service Date
MA | 2025-03-01 | Greater Boston - Western Suburbs | Build a new 115 kV line from Sudbury Station 342 substation to Hudson substation and add a 30 MVAR shunt reactor at the Sudbury station | 1335 | 06/09/2016 10/05/2020 | No | Eversource | 2025-03-01
MA | 2027-03-01 | Southeast Massachusetts/Rhode Island Reliability Project | Separate N12/M13 DCT & reconductor N12 & M13 between Somerset and Bell Rock (~3.5 miles) | 1720 | 2018-04-30 | No | National Grid, USA | 2027-03-01
MA | 2025-12-01 | Southeast Massachusetts/Rhode Island Reliability Project | Extend Line 114 - Dartmouth town line (Eversource- NGRID border) to Bell Rock (~4.2 miles) | 1722 | 2018-04-30 | No | National Grid, USA | 2025-12-01
MA | 2025-12-01 | Southeast Massachusetts/Rhode Island Reliability Project | Extend the 115 kV 114 line from Eversource/National Grid border to Industrial Park Tap | 1730 | 2018-04-30 | No | Eversource | 2025-12-01
MA | 2025-12-01 | Southeast Massachusetts/Rhode Island Reliability Project | Loop 201-502 line into Medway #65 Substation to form the 201-502N and 201-502S lines | 1732 | 2018-04-30 | No | Eversource | 2025-12-01
MA | 2025-12-01 |  | New East Eagle 115 kV station between Mystic and Chelsea connecting to a planned line. | 1745 | 2016-06-09 | No | Eversource | 2025-12-01
ME | 2025-12-01 | Queue Position 639 | Construct new Coopers Mills to Maine Yankee 345 kV line | 1816 | 2020-07-09 | NR | Central Maine Power Company | 2025-12-01
ME | 2025-12-01 | Queue Position 639 | Install 2nd Larrabee Road 345/115 kV autotransformer | 1817 | 2020-07-09 | NR | Central Maine Power Company | 2025-12-01
ME | 2025-12-01 | Queue Position 639 | Construct 207 miles of new 320 kV symmetrical monopole HVDC transmission line from Appalaches Substation in Saint-Adrien-d’Irlande, Quebec to Merrill Road Substation in Lewiston, ME. | 1819 | 2020-07-09 | NR | NECEC Transmission LLC | 2025-12-01
ME | 2025-12-01 | Queue Position 639 | Construct a new HVDC Converter Terminal at Merrill Road Substation. | 1820 | 2020-07-09 | NR | NECEC Transmission LLC | 2025-12-01
ME | 2025-12-01 | Queue Position 639 | Construct 1.6 miles of new 345 kV AC transmission line from Merrill Road 345 kV Substation to Larrabee Road 345 kV Substation. | 1821 | 2020-07-09 | NR | NECEC Transmission LLC | 2025-12-01
ME | 2024-10-01 | UME 2029 Solution | Install a +50/-25 MVAR synchronous condenser at Boggy Brook 115 kV substation, and install a new 115 kV breaker to separate Line 67 from the proposed solution elements | 1886 | 2022-02-16 | No | Versant Power | 2024-06-01
ME | 2025-03-01 | Queue Position 760 | Addition of a +/-150 MVAR STATCOM at Tunk Lake | 1891 | 2021-07-01 | NR | Versant Power | 2024-12-01
ME | 2025-12-01 | Queue Position 889 | Install two +300/-300 MVAR STATCOMs at the Buxton 345 kV Substation with one new 345 kV breaker | 1893 | 2021-11-19 | NR | Central Maine Power Company | 2025-12-01
ME | 2025-12-01 | Queue Position 889 | Reconductor the Section 62 115 kV line | 1894 | 2021-11-19 | NR | Central Maine Power Company | 2025-12-01
ME | 2025-12-01 | Queue Position 889 | Reconductor the Section 64 115kV | 1895 | 2021-11-19 | NR | Central Maine Power Company | 2025-12-01
ME | 2025-08-01 | Queue Position 889 | Add a series breaker at the Scobie Pond 345 kV Substation | 1896 | 2021-11-19 | NR | Eversource | 2025-12-01
ME | 2025-08-01 | Queue Position 889 | Add a series breaker at the Deerfield 345 kV Substation | 1897 | 2021-11-19 | NR | Eversource | 2025-08-01
CT | 2026-04-01 | Railroad Corridor Transmission Line Asset Condition Upgrades | Rebuild 88005A-1 Line (Milvon - Woodmont) | ACL 155 | 2019-01-28 | 2023-09-12 | United Illuminating Company | 2027-03-01
CT | 2026-04-01 | Railroad Corridor Transmission Line Asset Condition Upgrades | Rebuild 88005B-1 Line (Milvon - Woodmont) | ACL 156 | 2019-01-28 | 2023-09-12 | United Illuminating Company | 2027-04-01
CT | 2027-11-01 | Railroad Corridor Transmission Line Asset Condition Upgrades | Rebuild 8804A Line (Woodmont - Allings Crossing) | ACL 157 | 2019-01-28 | 2023-09-12 | United Illuminating Company | 2026-02-01
CT | 2027-11-01 | Railroad Corridor Transmission Line Asset Condition Upgrades | Rebuild 8804B Line (Woodmont - Allings Crossing) | ACL 158 | 2019-01-28 | 2023-09-12 | United Illuminating Company | 2026-02-01
CT | 2025-06-01 | Railroad Corridor Transmission Line Asset Condition Upgrades | Rebuild 88003A-3 Line (Allings Crossing - Elmwest) | ACL 159 | 2019-01-28 | 2023-09-12 | United Illuminating Company | 2025-03-01
CT | 2025-06-01 | Railroad Corridor Transmission Line Asset Condition Upgrades | Rebuild 88003B-3 Line (Allings Crossing - Elmwest) | ACL 160 | 2019-01-28 | 2023-09-12 | United Illuminating Company | 2025-03-01
CT | 2025-07-01 |  | Derby Junction to Ansonia Corridor 115 kV Transmission Upgrades | ACL 239 | NR | 2024-07-22 | United Illuminating Company | 2025-06-01
MA | 2025-06-01 |  | Copper Conductor and Shield Wire Replacement - Line 1231/1242 | ACL 250 | 2022-10-19 | 2024-07-22 | Eversource | 2025-06-01
VT | 2026-06-01 |  | Line K42 Asset Condition Line Replacement | ACL 305 | 2022-03-17 | No | Vermont Electric Power Company | 2026-04-01
MA | 2025-08-01 |  | Construct new Stafford Street Substation | ACL 333 | 2020-06-02 | 2023-05-31 | National Grid, USA | 2025-04-01
NH | 2025-03-01 |  | NH Asset Condition Project - F139 Line | ACL 382 | 2023-09-20 | No | Eversource | 2025-03-01
NH | 2024-12-01 |  | Northern New Hampshire 115kV Line Rebuilds - B112 Line | ACL 386 | 2023-06-14 | No | Eversource | 2024-12-01
RI | 2026-06-01 |  | T-172N Woonsocket-Hartford Ave-West Farnum 115 kV Line Reconductoring | ACL 426 | 2024-02-14 | No | Rhode Island Energy | 2025-04-01
RI | 2026-06-01 |  | S-171N Woonsocket-Hartford Ave-West Farnum 115 kV Line Reconductoring | ACL 427 | 2024-02-14 | No | Rhode Island Energy | 2024-12-01
CT | 1905-07-17 |  | 1690 115kV Line Copper Retirement | LSP |  |  | Eversource | 2025-12-01
RI | 2025-12-01 |  | U181 - New 115kV Line from Woonsocket to Nasonville | LSP |  |  | Rhode Island Energy | 2026-12-01
MA | 1905-07-17 |  | Line 191 Reconductor (Auburn Station to Kingston Station) | LSP |  |  | Eversource | 2025-12-01
NH | 2024-12-01 |  | W179 Line Rebuild Project | LSP |  |  | Eversource | 2024-12-01
MA | 1905-07-16 |  | Andrew Sq to Dewar St, new 115 kV line | LSP | 2019-11-05 |  | Eversource | 2025-08-01
Note on B10: This is the projected in-service date as noted in the latest RSP, ACL, or LSP list
Note on E10: The Local System Plan projects are identified as LSP in this field; The Aset Condition List projects are identified as ACL XXX; where XXX is the Project ID as identified on the Asset Condition tracker The Regional System Plan projects are identified as XXX; where XXX is the Project ID as identified on the Project Listing tracke